Fire safety and emergency evacuation

##### Kiwi’s must take reasonable steps to ensure the safety of child, staff and others on the premises in the case of fire or any other emergency, and must have an emergency evacuation procedure.

##### Kiwi’s will check the premises so that it does not present a risk of fire by implementing fire precautions.

##### Kiwi’s is familiar with the current legal requirements. Where necessary we will   seek advice from a Fire Officer or  Fire Consultant. Actions will be taken if any findings of the risk assessments,  any actions taken or incidents that have occurred and fire drills.

Fire safety risk assessment

Kiwi’s fire safety risk assessment focuses on the following for each area of the setting:

Electrical plugs, wires and sockets.

Electrical items.

Heaters.

Cookers, Micro-waves, Kettles, stereos, laptop, printers and chargers, hoover and steam mop

Matches.

Flammable materials – including furniture, furnishings, paper etc.

Flammable chemicals.

Means of escape.

Anything else identified.

Kiwi’s ensure  that fire doors are clearly marked, never obstructed and easily opened from the inside.

Kiwi’s will ensure that smoke detectors/alarms and firefighting appliances conform to BS EN standards, are fitted in appropriate high risk areas of the building  and are checked as specified by the manufacturer  by The  Surrey Fire Company

Kiwi’s have all electrical equipment Pac checked annually. Any faulty electrical equipment is taken out of use and either repaired or replaced.

Kiwi’s provides socket covers and sockets are checked each morning and replaced if required

Kiwi’s evacuation procedures are implemented as follows:

- explained  to ALL members of  staff, volunteers and parents; and  form part of Kiwi’s induction

- practised regularly, at least once every six weeks. Records are kept of fire drills and of the servicing of fire safety equipment.

Emergency evacuation procedure

- practice drills  to support the children in the setting  so all become  a routine and familiar practise

- team, volunteers and visitors  are shown fire exits

- Children will be support to evacuate  the building by the team and taken to

The assembly point. The named Fire Marshall will check the building is empty.

- The Room Leader will check the register for all adults and children

Recording the Drill

The leader will record the drill stating how long it takes to evacuate the children safely

What worked well?  How can we improve?

The designated person will call the emergency services in the event of a real fire once all the children and adults have been evacuated safely.

Manager  will contact the parents by  Mobile and contact Catherine Childs

# Text boxes

Safeguarding and Welfare Requirement: Safety and

Suitability of Premises, Environment and Equipment